FoFi UI Design

---
Main Window
-Verwendung von Qt „DockWidgets“
-See http://doc.qt.io/qt-5/qtwidgets-mainwindows-dockwidgets-example.html
OR
wxWidgets

---
FoFi
Connect
Take 1
Find focus
TODO: Take first shot automatically?
1:1
X: 2125 Y: 1676 V: 454
Min
Max
6376
HFD: 19
FWHM: 8
1:1
7211
HFD: 14
FWHM: 7
9087
HFD: 25
FWHM: 12
6000
7000
5000
0
12000
8000
9000
8112
cur=7631
Filter
Filter
Status
Busy (moving to 5)...
80%
Cooler
Status
On (cooling)...
Setpoint
°C
Actual value
26.4°C
Exposure
Status
Exposure time (hh:mm:ss)
Binning (X * Y)
Frame type
x
:
:
Focuser
Status
Busy (moving to 5112)...
80%
HFD
Image Data
Min:
Max:
Dim:
Size:
BPP:
11
65535
4800x3000
8MB
16
Star Data
Min:
Max:
HFD:
FWHM H:
FWHM V:
15320
65535
14
11
13
3D
FWHM H
Stop

---
-Connect devices (at least camera)
-Set filter (has default ?)
-Set exposure time (has default)
-Find / Autoselect focus star (take a shot, select star, set subframe boundaries)
-Start automatic focus finder process
-
-
-
-
-

---
Main Menu
File
-Save image… (Save current frame as (disabled if no frame)
-Exit - Alt-X
INDI
-Configure (→ Configure INDI Settings)
-Controls (→ Show INDI controls for available devices (?))
Tools
-Manual focusing (IDEA: Sep. dialog which holds everything for manual focusing?)
View
-Display Device Control
-Display Star HFD
-Display Stat FWHM
-Display 3D Star profile
-Display Frame Info
-Display Big Text Focus Aid
-Display Focus History
-Display Stretch Curve
-TODO….Profile….?
-Preferences / Advanced parameters
Help
-About F1
-Impatient Instructions
-Link website?

---
File
View
INDI
Help
Controls ...
Display Star HFD
Display Star FWHM
Save image ...
Preferences ...
Display Device Control
Display 3D Star Profile
Exit
About ...
Impatient Instructions
Display Frame Info
Display Big Text Focus Aid
Display Focus History
Configure ...
Display Stretch Curve

---
Frame Info
Frame Info
Min:
Max:
Dim:
Size:
BPP:
11
65535
4000x3000
8MB
16
Layers:
1
Description:
Date:
Exposure:
2018/03/15
3m15s
Filter:
<unknown>
Binning:
1x1
FrameType:
Light
GEO Loc:
<unknown>
Additional description
of FITS file...

---
3D Star profile
* User can enable/disable rotation using the rotation toggle button
* User can enable / disable drawing of HFD rings
* User can enable / disable drawing of FWHM curves
* TODO: Zoom ?
* TODO: Navigate with mouse?
* TODO: Save „snapshot“ as PNG/JPEG?
3D

---
Image Viewer
1:1
X: 2125 Y: 1676 V: 454
3D
HFD
FWHM H
FWHM W
Image Data
Min:
Max:
Dim:
Size:
BPP:
11
65535
4800x3000
8MB
16
Star Data
Min:
Max:
HFD:
FWHM H:
FWHM V:
15320
65535
14
11
13

---
Image Viewer
* Image viewer either shows no frame or exactly one frame (latest one taken)
* Modify displaying of 16 bit image by modifying hisogram curve
* Allow saving of frame as .fits file (Save as...)
* If user double-clicks on star-image
-Look for star within certain region around click-position
-If star found
-Determine centroid of star
-Draw green rectangle around star
-Update HFD, FWHMs, 3D Star View, Star data (min, max, …)
* Zoom in and out with icons or mouse wheel, take current mouse position into account when calculating new image region
* „Left click and hold and move“ moves the image (pan) (if select subframe no active)
* „Left click without move“ outside rectangle removes star selection
* Right click onto rectangle opens context menu with menu items
-Set as subframe
-Remove selection
* „Left click and hold and move“ + button „Select subframe“ active
-Drag a red rectangle with the mouse
* When user changes binning and new frame is taken, respective positions of already existing selections and subframes have to be re-calculated accordingly
* When user changes zoom level, size of the selection frame and size of subframe also change
* When moving mouse over image, X,Y position and pixel value within image is displayed in the „Status bar“ of the Image Viewer
* TODO: Dimension of standard selection frame depends on binning, focal length + pixel size?
* TODO: * Allow loading frame(s) (?)

---
Splash Screen (?)

---
Manage Profiles
Disconnected state
Profile:
Connecting state
Devices
Verbinden
Connected state
Verbinden
Verbinden
Focus Finder Settings depending on profile – TODO...
* If one clicks connect, application tries to connect to device → button is toggled, wait animation is shown
* If one presses the button while in „connectiong state“, connecting is canceled and new state is „Disconnected state“
* If device could not be connected to after timeout, new state is „Disconnected“, user is informed (?)
* If application successfully connected to device, button is toggled, new state is „Connected“
* If device connection state changes outside the application, the state will be updated directly in the application (and user may be informed…?)
* For each device a settings dialog can be called (e.g. to set USB device name…) - „Device Property Explorer“ ?
Camera:
Filter wheel:
Focuser:

---
Profile mechanism
* One profile can be active at a time
* A „Profile“ contains
   -Unique (?) name (description)
   -Camera device to use for focusing (required) (since there can be multiple camera devices)
   -Focuser device (optional) (since there can be multiple camera devices)
   -Focal length of telescope
   -Pixel size (?)
* Allow user to specify profile at startup via cmdline
* TODO: Where should the following items go?
   -Create new profile
   -Edit profile
   -Delete profile
* TODO: Where / how should one be able to select a profile?
* TODO: Should one be able to change profile while program is running / in operation?
* TODO: Where in filsystem should this cfg be stored? e.g. ~/.fofi/profiles
* TODO: Is a profile required to work with FoFi? Or are default values taken / certain functions / values not available?
* TODO: Select profile at startup?

---
Device Property Explorer
* User is able to select device from Combobox
* If no device is selected, table of properties is empty
TODO: Should it be possible to edit / change certain properties? Or just read-only?
TODO: What if device not connected?

---
Status
Busy (moving to 5)...
Filter
* If filter wheel is disconnected or currently busy, Combobox is disabled, status shows „Disconnected“ / „Busy“...
* Selecting the filter from the combobox directly drives to selected position
* Animation (rotating filter wheel while moving) (?)
* While busy, progress bar is shown with percentage + Cancel button active
* If not busy, progress bar is not shown, Cancel button is inactive, Status is „Ready“
* There is no „Cancel“ button since move-action normally only takes a few seconds and pressing „Cancel“ would raise the question ...TODO: Which action does Cancel do here? Even possible? Which filter position will be the result? The old one?
Filter
80%

---
Status
Exposing..10s left...
Exposure time (mm:ss)
:
Delay (s)
Binning (X * Y)
x
Frame type
Subframe
X:
Y:
Width:
Height:
Full frame
Save options
Browse...
Dest. directory
Take shot
Loop
*TODO: Question is if all those settings should be visible or just be set in the preferences dialog… or we move „special“ settings to a „details panel“
* User can determine exposure time, delay, binning, frame type and sub.frame
* Frame autosave… (own frame?)
-Checkbox to enable / disable autosave
-Directory to save to
-Naming pattern
-Saving should add metatags to FITS file (e.g. focal length, filter, exp. time etc…)
*IDEA: Group-frames everywhere?
* IDEA: Replace subframe grouping box by „expandable“ panel (triangle)
* TODO: Need icon for „Full Frame“, „Loop“ and „Take shot“
Exposure

---
* If cooler is off
-Status is „Off“
-Setpoint is last set value (loaded from cfg)
-Actual value is current temperature
* If cooler is on
-Status is „On (cooling)...“
-Button is in „pressed“ state
-If one modifies setpoint, new value is set directly
* If no cooler detected
-Status is „no cooler detected“
-Setpoint and „Cooler on“ button are disabled
-Actual value is „-“
* If cooler is turned of, „Cooler on“ button is disabled, for some time (how long?)
* Graph button opens window with temperature progression (works even if no cooler detected)
* Cooler on button may be replaced by icon?
Cooler
Status
On (cooling)...
Setpoint
°C
Actual value
26.4°C

---
Status
Busy (moving to 5112)...
* Relative position change ?
* Absolute position change ?
* Show current absolute position? - graphically?
* Focus movement animation (?)
* Status…
*
Focuser
80%

---
 Focus History
Idea: Focus – Image - Bar / History
* „+“ zooms in a step
* „-“ zooms out a step
* Mouse-Wheel zooms in / out
* 1:1 – zooms out so that Min & Max are visible
* Moving mouse within window shows vertical bar with respective focus position
* yellow bar indicates current focus position
* Right click into component (non-image area) opens context menu → „Go to 8112“ or „Cancel“ if currently moving + „Take frame“ (?) + „Clear all entries“…
* Moving mouse over star image, select image (border changes color?), right click shows same context menu as above + „Take new frame“ (?) + maybe more entries later
* „Left click and hold“ + moving (panning) moves info-bar left or right
* „Clear“ button clears all entries
* Later maybe „Load“ & „Save“
Min
Max
6376
HFD: 19
FWHM: 8
1:1
7211
HFD: 14
FWHM: 7
9087
HFD: 25
FWHM: 12
6000
7000
5000
0
12000
8000
9000
8112
cur=7631

---
Preferences Panel
* Tabs

---
Big Text Focus Aid Panel (MAX, FWHM & HFD)
Star Focus Data
FWHM
MAX
HFD
54312
12.32
6.51

---
2D Coordinate System View
Camera Temperature °C
-1
-2
-3
-4
-5
0
1
2

---
Stretch Curve
Stretch Curve

---
Calibration / V-Curve recording
* New window (or even application) to determine the system parameters (focuser ↔ camera ↔ telescope optics) (→ V-Curve)
* NOTE: Actual focus-finder also works without any calibration – but just in „manual“ mode
* Idea for workflow (for a previously (?) selected set of devices)
-System takes a full frame image (which binning?, which exposure time? Maybe take previously configured, NOTE / IDEA: Star selection may take already place in „main window“ and may be a condition for entering the „calibration window“!)
-User / system selects a suitable star for focusing
--------------------------------------------------------------
-User opens the calibration window (this one)
-Star is continiously updated (→ refresh HFD & other star values)
-User brings focus to one „Out of focus position“ → pos & HFD is recorded
-User brings focus to „Near focus position“ → pos & HFD is recorded
-User presses „Calibrate“ → System records N V-Curves (# set by user?) - should user be able to select between V-Curves?
IDEA: Out of focus position could maybe be auto-detected e.g. the point when the star turns into a „ring“, i.e. when the pixel-value on a line through the star (e.g. x-axis) decreases to the center and increases to the boundary again...